## Polygon Asset Inputs
SAG Feature Number | Asset Sub Type | Existing/New | Differs from Design | Unique Name/Id From Design Data | mE | mN | Vertex Order | Date of Commission | Location Certainty | Main Contractor | Date of Survey | Guideline Revision Used | Long Description | Artwork | File Name of photo if supplied | Attribute 1 | Attribute 2 | Attribute 3 | Attribute 4 | Attribute 5 | Attribute 6 | Attribute 7 | Attribute 8 | Attribute 9 | Attribute 10 | Attribute 11 | Attribute 12 | Attribute 13 | Attribute 14 | Attribute 15 | Attribute 16 | Attribute 17 | Attribute 18 | Attribute 19 | Attribute 20 | Attribute 21 | Attribute 22 | Attribute 23 | Attribute 24 | Attribute 25 | Attribute 26 | Attribute 27 | Attribute 28 | Attribute 29 | Attribute 30
N03 | FOOT | New | No | 53 | 1570247.361 | 5188118.562 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite NE corner of first flush basin | N | IMG_00582118 | WOOD | NONE | WOOD | WOOD | 1 |  |  | 8.6 | 2.8 | 1 | Y | CCC
N03 | FOOT | New | No | 53 | 1570241.746 | 5188124.928 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite NE corner of first flush basin | N | IMG_00582118 | WOOD | NONE | WOOD | WOOD | 1 |  |  | 8.6 | 2.8 | 1 | Y | CCC
N03 | FOOT | New | No | 53 | 1570243.676 | 5188126.838 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite NE corner of first flush basin | N | IMG_00582118 | WOOD | NONE | WOOD | WOOD | 1 |  |  | 8.6 | 2.8 | 1 | Y | CCC
N03 | FOOT | New | No | 53 | 1570249.372 | 5188120.461 | 4 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite NE corner of first flush basin | N | IMG_00582118 | WOOD | NONE | WOOD | WOOD | 1 |  |  | 8.6 | 2.8 | 1 | Y | CCC
N03 | FOOT | New | No | 53 | 1570247.361 | 5188118.562 | 5 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite NE corner of first flush basin | N | IMG_00582118 | WOOD | NONE | WOOD | WOOD | 1 |  |  | 8.6 | 2.8 | 1 | Y | CCC
N03 | FOOT | New | No | 53 | 1570247.361 | 5188118.562 | 6 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite NE corner of first flush basin | N | IMG_00582118 | WOOD | NONE | WOOD | WOOD | 1 |  |  | 8.6 | 2.8 | 1 | Y | CCC
J01 | GRASSES | New | No | 57 | 1570180.436 | 5188222.335 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570181.791 | 5188214.781 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570179.731 | 5188214.048 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570179.297 | 5188213.852 | 4 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570178.264 | 5188213.338 | 5 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570177.297 | 5188212.836 | 6 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570173.967 | 5188210.335 | 7 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570172.327 | 5188212.801 | 8 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570172.336 | 5188212.813 | 9 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570172.923 | 5188213.072 | 10 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570173.873 | 5188213.637 | 11 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570174.823 | 5188214.336 | 12 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570175.589 | 5188215.1 | 13 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570176.176 | 5188215.93 | 14 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570176.507 | 5188216.874 | 15 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570176.81 | 5188217.901 | 16 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570176.961 | 5188218.863 | 17 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570176.934 | 5188219.808 | 18 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570176.941 | 5188220.854 | 19 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570176.953 | 5188221.823 | 20 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570180.436 | 5188222.335 | 21 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 57 | 1570180.436 | 5188222.335 | 22 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South end of play surface with modular structure | N | IMG_00592122 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570168.32 | 5188242.39 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570170.587 | 5188241.633 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570171.549 | 5188241.195 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570172.417 | 5188240.524 | 4 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570173.268 | 5188239.763 | 5 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570174.201 | 5188239.065 | 6 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570175.311 | 5188238.553 | 7 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570176.436 | 5188238.245 | 8 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570177.436 | 5188237.995 | 9 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570178.904 | 5188237.864 | 10 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570179.086 | 5188234.357 | 11 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570175.852 | 5188234.078 | 12 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570175.379 | 5188234.559 | 13 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570174.61 | 5188235.139 | 14 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570173.811 | 5188235.527 | 15 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570172.848 | 5188235.558 | 16 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570171.987 | 5188235.311 | 17 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570171.394 | 5188235.026 | 18 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570171.628 | 5188236.075 | 19 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570171.461 | 5188236.86 | 20 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570170.991 | 5188237.5 | 21 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570170.123 | 5188238.227 | 22 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570167.923 | 5188240.61 | 23 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570168.32 | 5188242.39 | 24 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 58 | 1570168.32 | 5188242.39 | 25 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North end of playground with seat | N | IMG_00592123 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 59 | 1570166.936 | 5188234.796 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West edge of play surface containing spring | N | IMG_00592124 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 59 | 1570167.661 | 5188234.054 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West edge of play surface containing spring | N | IMG_00592124 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 59 | 1570168.075 | 5188230.869 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West edge of play surface containing spring | N | IMG_00592124 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 59 | 1570166.832 | 5188231.073 | 4 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West edge of play surface containing spring | N | IMG_00592124 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 59 | 1570166.826 | 5188233.152 | 5 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West edge of play surface containing spring | N | IMG_00592124 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 59 | 1570166.936 | 5188234.796 | 6 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West edge of play surface containing spring | N | IMG_00592124 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | GRASSES | New | No | 59 | 1570166.936 | 5188234.796 | 7 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West edge of play surface containing spring | N | IMG_00592124 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570168.247 | 5188229.176 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570169.456 | 5188218.961 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570168.573 | 5188218.601 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570168.37 | 5188219.637 | 4 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570168.114 | 5188221.142 | 5 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570167.872 | 5188222.239 | 6 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570167.594 | 5188223.522 | 7 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570167.339 | 5188224.943 | 8 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570167.106 | 5188226.261 | 9 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570166.93 | 5188228.623 | 10 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570168.247 | 5188229.176 | 11 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
J01 | LOWGROWINGSHRUBS | New | No | 60 | 1570168.247 | 5188229.176 | 12 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | West of Junior Hammock | N | IMG_00592125 | BED | NOTIRRIGATED | TREEMULCH | NONE | N | NOTDONATED | N
Note on A1: enter feature number from SAG
Note on B1: specific subtype of asset
Note on C1: Claire Newman: Brand new asset or has it been here a while?
Note on D1: asset different to design? E.g. material/size differs, significant position change
Note on E1: Unique asset name taken from construction plans
Note on F1: line vertex easting coordinate (Mt Pleasant 2000)?/
Note on G1: line vertex northing coordinate (Mt Pleasant 2000)??
Note on H1: Order of vertices for lines with more than one vertex or for curved pipes - enter SA for start of arc and EA for end of arc
Note on I1: date when asset was commissioned
Note on J1: accuracy of spatial data
Note on K1: Main contractor who installed asset
Note on L1: date when survey started
Note on M1: SAG version used for this survey
Note on N1: Explanation, further details, or location within park
Note on O1: Has it an aspect of creative, aesthetic, or decorative beauty?

## Line Asset Inputs
SAG Feature Number | Asset Sub Type | Existing/New | Differs from Design | Unique Name/Id From Design Data | mE | mN | Vertex Order | Date of Commission | Location Certainty | Main Contractor | Date of Survey | Guideline Revision Used | Long Description | Artwork | File Name of photo if supplied | Attribute 1 | Attribute 2 | Attribute 3 | Attribute 4 | Attribute 5 | Attribute 6 | Attribute 7 | Attribute 8 | Attribute 9 | Attribute 10 | Attribute 11 | Attribute 12 | Attribute 13 | Attribute 14 | Attribute 15 | Attribute 16 | Attribute 17 | Attribute 18 | Attribute 19 | Attribute 20 | Attribute 21 | Attribute 22 | Attribute 23 | Attribute 24 | Attribute 25 | Attribute 26 | Attribute 27 | Attribute 28 | Attribute 29 | Attribute 30
N06 | POSTCABLE | New | No | 44 | 1570193.847 | 5188293.656 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite 21 - 29 William Nicholls Drive | N | IMG_00582109 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 44 | 1570191.894 | 5188291.083 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite 21 - 29 William Nicholls Drive | N | IMG_00582109 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 44 | 1570190.395 | 5188288.472 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite 21 - 29 William Nicholls Drive | N | IMG_00582109 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 44 | 1570169.976 | 5188245.106 | 4 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite 21 - 29 William Nicholls Drive | N | IMG_00582109 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 44 | 1570168.892 | 5188242.369 | 5 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite 21 - 29 William Nicholls Drive | N | IMG_00582109 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 45 | 1570174.503 | 5188210.508 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp McLendon Green to opp 7 William Nicholls Drive | N | IMG_00582110 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 45 | 1570176.85 | 5188208.307 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp McLendon Green to opp 7 William Nicholls Drive | N | IMG_00582110 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 45 | 1570178.367 | 5188205.491 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp McLendon Green to opp 7 William Nicholls Drive | N | IMG_00582110 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 45 | 1570207.42 | 5188167.209 | 4 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp McLendon Green to opp 7 William Nicholls Drive | N | IMG_00582110 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 45 | 1570211.079 | 5188162.516 | 5 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp McLendon Green to opp 7 William Nicholls Drive | N | IMG_00582110 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 45 | 1570213.103 | 5188159.17 | 6 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp McLendon Green to opp 7 William Nicholls Drive | N | IMG_00582110 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 45 | 1570214.839 | 5188156.097 | 7 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp McLendon Green to opp 7 William Nicholls Drive | N | IMG_00582110 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 45 | 1570216.221 | 5188152.809 | 8 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp McLendon Green to opp 7 William Nicholls Drive | N | IMG_00582110 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 45 | 1570217.391 | 5188149.441 | 9 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp McLendon Green to opp 7 William Nicholls Drive | N | IMG_00582110 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 45 | 1570218.195 | 5188146.41 | 10 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp McLendon Green to opp 7 William Nicholls Drive | N | IMG_00582110 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 47 | 1570218.623 | 5188144.224 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp 7 William Nicholls Drive, south of bollard | N | IMG_00582112 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 47 | 1570219.084 | 5188141.315 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp 7 William Nicholls Drive, south of bollard | N | IMG_00582112 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 47 | 1570219.379 | 5188138.385 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp 7 William Nicholls Drive, south of bollard | N | IMG_00582112 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 47 | 1570219.361 | 5188135.271 | 4 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp 7 William Nicholls Drive, south of bollard | N | IMG_00582112 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 47 | 1570219.17 | 5188132.322 | 5 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp 7 William Nicholls Drive, south of bollard | N | IMG_00582112 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 47 | 1570218.731 | 5188129.287 | 6 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp 7 William Nicholls Drive, south of bollard | N | IMG_00582112 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 47 | 1570218.166 | 5188126.444 | 7 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opp 7 William Nicholls Drive, south of bollard | N | IMG_00582112 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 48 | 1570203.252 | 5188091.61 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Intersection William Nicholls/Thompsons to gate on Thompsons | N | IMG_00582113 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 48 | 1570200.647 | 5188086.11 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Intersection William Nicholls/Thompsons to gate on Thompsons | N | IMG_00582113 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 48 | 1570203.008 | 5188080.149 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Intersection William Nicholls/Thompsons to gate on Thompsons | N | IMG_00582113 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 48 | 1570249.017 | 5188058.621 | 4 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Intersection William Nicholls/Thompsons to gate on Thompsons | N | IMG_00582113 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 48 | 1570271.507 | 5188048.02 | 5 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Intersection William Nicholls/Thompsons to gate on Thompsons | N | IMG_00582113 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 50 | 1570275.484 | 5188046.292 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Gate on Thompsons to south side bollard on Blakes Road | N | IMG_00582115 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 50 | 1570356.353 | 5188007.743 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Gate on Thompsons to south side bollard on Blakes Road | N | IMG_00582115 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 50 | 1570365.782 | 5188011.706 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Gate on Thompsons to south side bollard on Blakes Road | N | IMG_00582115 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 50 | 1570375.214 | 5188030.465 | 4 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Gate on Thompsons to south side bollard on Blakes Road | N | IMG_00582115 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 52 | 1570376.017 | 5188032.198 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North side bollard Blakes Road frontage to stream | N | IMG_00582117 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
N06 | POSTCABLE | New | No | 52 | 1570381.712 | 5188044.004 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North side bollard Blakes Road frontage to stream | N | IMG_00582117 | BOUNDARY | CABLE | WOOD | GALVANISED | BOUNDARY | N | 0.65 | CCC
K09 | VEHICULAR | New | No | 49 | 1570271.507 | 5188048.02 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Vehicle gate Thompsons Road frontage | N | IMG_00582114 | CABLE | GALVANISED | POSTCABLE | WOOD | 0.65 | CCC
K09 | VEHICULAR | New | No | 49 | 1570275.484 | 5188046.292 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Vehicle gate Thompsons Road frontage | N | IMG_00582114 | CABLE | GALVANISED | POSTCABLE | WOOD | 0.65 | CCC
N07 |  | New | No | 40 | 1570173.951 | 5188232.989 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | East edge of path between play surfaces | N | IMG_00582105 | ROCK | 0.5 | 0.5 | 0.5 | N | CCC
N07 |  | New | No | 40 | 1570174.935 | 5188224.28 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | East edge of path between play surfaces | N | IMG_00582105 | ROCK | 0.5 | 0.5 | 0.5 | N | CCC
N07 |  | New | No | 40 | 1570174.73 | 5188221.387 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | East edge of path between play surfaces | N | IMG_00582105 | ROCK | 0.5 | 0.5 | 0.5 | N | CCC
N07 |  | New | No | 41 | 1570176.953 | 5188221.823 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | East edge of play surface with modular unit | N | IMG_00582106 | ROCK | 0.3 | 0.5 | 0.3 | N | CCC
N07 |  | New | No | 41 | 1570183.27 | 5188222.754 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | East edge of play surface with modular unit | N | IMG_00582106 | ROCK | 0.3 | 0.5 | 0.3 | N | CCC
N07 |  | New | No | 41 | 1570181.952 | 5188234.605 | 3 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | East edge of play surface with modular unit | N | IMG_00582106 | ROCK | 0.3 | 0.5 | 0.3 | N | CCC
N07 |  | New | No | 41 | 1570175.852 | 5188234.078 | 4 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | East edge of play surface with modular unit | N | IMG_00582106 | ROCK | 0.3 | 0.5 | 0.3 | N | CCC
N08 | GUARDRAIL | New | No | 54 | 1570247.361 | 5188118.562 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South side of footbridge | N | IMG_00582119 | WOOD | 0.1 | 1 | 0.6
N08 | GUARDRAIL | New | No | 54 | 1570241.746 | 5188124.928 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | South side of footbridge | N | IMG_00582119 | WOOD | 0.1 | 1 | 0.6
N08 | GUARDRAIL | New | No | 55 | 1570249.372 | 5188120.461 | 1 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North side of footbridge | N | IMG_00582120 | WOOD | 0.1 | 1 | 1.1
N08 | GUARDRAIL | New | No | 55 | 1570243.676 | 5188126.838 | 2 | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | North side of footbridge | N | IMG_00582120 | WOOD | 0.1 | 1 | 1.1
Note on A1: enter feature number from SAG
Note on B1: specific subtype of asset
Note on C1: Claire Newman: Brand new asset or has it been here a while?
Note on D1: asset different to design? E.g. material/size differs, significant position change
Note on E1: Unique asset name taken from construction plans
Note on F1: line vertex easting coordinate (Mt Pleasant 2000)?/
Note on G1: line vertex northing coordinate (Mt Pleasant 2000)??
Note on H1: Order of vertices for lines with more than one vertex or for curved pipes - enter SA for start of arc and EA for end of arc
Note on I1: date when asset was commissioned
Note on J1: accuracy of spatial data
Note on K1: Main contractor who installed asset
Note on L1: date when survey started
Note on M1: SAG version used for this survey
Note on N1: Explanation, further details, or location within park
Note on O1: Has it an aspect of creative, aesthetic, or decorative beauty?

## Point Asset Inputs
SAG Feature Number | Asset Sub Type | Existing/New | Differs from Design | Unique Name/Id From Design Data | mE | mN | Leave blank | Date of Commission | Location Certainty | Main Contractor | Date of Survey | Guideline Revision Used | Long Description | Artwork | File Name of photo if supplied | Attribute 1 | Attribute 1 | Attribute 2 | Attribute 3 | Attribute 4 | Attribute 5 | Attribute 6 | Attribute 7 | Attribute 8 | Attribute 9 | Attribute 10 | Attribute 11 | Attribute 12 | Attribute 13 | Attribute 14 | Attribute 15 | Attribute 16 | Attribute 17 | Attribute 18 | Attribute 19 | Attribute 20 | Attribute 21 | Attribute 22 | Attribute 23 | Attribute 24 | Attribute 25 | Attribute 26 | Attribute 27 | Attribute 28 | Attribute 29 | Attribute 30
K04 |  | New | No | 46 | 1570219.539 | 5188145.452 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Opposite 7 William Nicholls Drive | N | IMG_00582111 | WOOD | NONE | N | N | 0.65
K04 |  | New | No | 51 | 1570374.787 | 5188031.761 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Blakes Road frontage, between fences | N | IMG_00582116 | WOOD | NONE | N | N | 0.65
K12 |  | New | No | 43 | 1570172.28 | 5188216.238 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Playground area, in main path | N | IMG_00582108 | WOOD | POWDERCOATED | METAL | CONCRETE
M04 | PANEL | New | No | 2 | 1570178.493 | 5188230.782 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | PANEL | N | IMG_00582067 | STEEL | N | 2.1 | GALVANISED | Y
M04 | PANEL | New | No | 3 | 1570177.142 | 5188230.715 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | PANEL | N | IMG_00582068 | STEEL | N | 1.8 | GALVANISED | Y
M04 | PANEL | New | No | 4 | 1570178.737 | 5188228.738 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | PANEL | N | IMG_00582069 | STEEL | N | 2.8 | GALVANISED | Y
M04 | CLIMBWALL | New | No | 5 | 1570179.758 | 5188231.033 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | CLIMBWALL | N | IMG_00582070 | WOOD | N | 1.5 | NONE | Y
M04 | RAMP | New | No | 6 | 1570179.661 | 5188229.836 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | RAMP | N | IMG_00582071 | WOOD | N | 1.2 | NONE | Y
M04 | CLIMBWALL | New | No | 7 | 1570180.075 | 5188228.825 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | CLIMBWALL | N | IMG_00582072 | STEEL | N | 2 | GALVANISED | Y
M04 | CLIMBWALL | New | No | 8 | 1570178.194 | 5188228.951 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | CLIMBWALL | N | IMG_00582073 | WOOD | N | 1.3 | NONE | Y
M04 | SLIDE | New | No | 9 | 1570179.529 | 5188226.883 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | SLIDE | N | IMG_00582074 | PLASTIC | N | 1.9 | NONE | Y
M04 | STEPS | New | No | 10 | 1570177.08 | 5188229.56 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | STEPS | N | IMG_00582075 | PLASTIC | N | 0.9 | NONE | Y
M04 | PLATFORM | New | No | 11 | 1570177.816 | 5188229.953 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | PLATFORM | N | IMG_00582076 | WOOD | N | 0.9 | NONE | Y
M04 | PLATFORM | New | No | 12 | 1570179.056 | 5188231.077 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | PLATFORM | N | IMG_00582077 | WOOD | N | 1.2 | NONE | Y
M04 | PLATFORM | New | No | 13 | 1570179.244 | 5188228.985 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | PLATFORM | N | IMG_00582078 | WOOD | N | 2 | NONE | Y
M04 | HANDRAIL | New | No | 14 | 1570179.449 | 5188228.366 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | HANDRAIL | N | IMG_00582079 | STEEL | N | 2.8 | GALVANISED | Y
M04 | HANDRAIL | New | No | 15 | 1570179.248 | 5188229.307 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | HANDRAIL | N | IMG_00582080 | STEEL | N | 1.8 | GALVANISED | Y
M04 | HANDRAIL | New | No | 16 | 1570179.612 | 5188230.045 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | HANDRAIL | N | IMG_00582081 | STEEL | N | 2 | GALVANISED | Y
M04 | HANDRAIL | New | No | 17 | 1570179.597 | 5188230.836 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | HANDRAIL | N | IMG_00582082 | STEEL | N | 2 | GALVANISED | Y
M04 | HANDRAIL | New | No | 18 | 1570179.904 | 5188229.978 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | HANDRAIL | N | IMG_00582083 | STEEL | N | 1.3 | GALVANISED | Y
M04 | HANDRAIL | New | No | 19 | 1570179.197 | 5188229.867 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | HANDRAIL | N | IMG_00582084 | STEEL | N | 1.3 | GALVANISED | Y
M04 | HANDRAIL | New | No | 20 | 1570177.08 | 5188230.053 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | HANDRAIL | N | IMG_00582085 | STEEL | N | 1.7 | GALVANISED | Y
M04 | HANDRAIL | New | No | 21 | 1570177.183 | 5188229.298 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | HANDRAIL | N | IMG_00582086 | STEEL | N | 1.7 | GALVANISED | Y
M04 | FIREMANSPOLE | New | No | 22 | 1570179.257 | 5188231.436 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | FIREMANSPOLE | N | IMG_00582087 | STEEL | N | 2.8 | GALVANISED | Y
M04 | ROOF | New | No | 23 | 1570179.95 | 5188229.109 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | ROOF | N | IMG_00582088 | WOOD | N | 4 | NONE | Y
M04 | HANDRAIL | New | No | 24 | 1570180.058 | 5188229.205 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | HANDRAIL | N | IMG_00582089 | STEEL | N | 2.8 | GALVANISED | Y
M04 | OBSTACLES | New | No | 25 | 1570173.934 | 5188234.615 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | OBSTACLES | N | IMG_00582090 | WOOD | N | 0.7 | NONE | N
M04 | SOLOSPINNER | New | No | 26 | 1570169.624 | 5188236.044 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | SOLOSPINNER | N | IMG_00582091 | STEEL | Y | 0.4 | GALVANISED | N
M04 | SPRING | New | No | 27 | 1570170.097 | 5188233.26 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | SPRING | N | IMG_00582092 | WOOD | Y | 0.6 | NONE | N
M04 | JUNIORHAMMOCK | New | No | 28 | 1570170.812 | 5188227.091 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | JUNIORHAMMOCK | N | IMG_00582093 | STEEL | Y | 0.8 | GALVANISED | N | 1 | 0 | 0 | 1
M04 | CLIMBWALL | New | No | 29 | 1570171.974 | 5188220.799 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | CLIMBWALL | N | IMG_00582094 | ROPE | N | 1.3 | NONE | N
M04 | OBSTACLES | New | No | 30 | 1570175.061 | 5188221.508 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | OBSTACLES | N | IMG_00582095 | WOOD | N | 0.4 | NONE | N
M04 | OBSTACLES | New | No | 31 | 1570177.168 | 5188219.345 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | OBSTACLES | N | IMG_00582096 | WOOD | N | 0.4 | NONE | N
M05 | JUNIOR | New | No | 1 | 1570178.707 | 5188230.698 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Junior Modular Unit | N | IMG_00582066
K15 | SEAT | New | No | 42 | 1570168.972 | 5188239.657 |  | 2016-08-10 | Survey Accurate | ABC | 2017-05-02 | 1 | Playground area, between garden and shorth path | N | IMG_00582107 | FIXEDGROUND | WOOD | METAL | POWDERCOATED | 1.8 | CONCRETE | NOTDONATED
Note on A1: enter feature number from SAG
Note on B1: specific subtype of asset
Note on C1: Claire Newman: Brand new asset or has it been here a while?
Note on D1: asset different to design? E.g. material/size differs, significant position change
Note on E1: Unique asset name taken from construction plans
Note on F1: line vertex easting coordinate (Mt Pleasant 2000)?/
Note on G1: line vertex northing coordinate (Mt Pleasant 2000)??
Note on H1: Order of vertices for lines with more than one vertex or for curved pipes - enter SA for start of arc and EA for end of arc
Note on I1: date when asset was commissioned
Note on J1: accuracy of spatial data
Note on K1: Main contractor who installed asset
Note on L1: date when survey started
Note on M1: SAG version used for this survey
Note on N1: Explanation, further details, or location within park
Note on O1: Has it an aspect of creative, aesthetic, or decorative beauty?

## SCIRT originalPickLists (hidden)
List Name | Value | Description | SAT Version
domSCIRTAccessConstruction | Brick | Brick | 2.06
domSCIRTAccessConstruction | Concrete | Concrete
domSCIRTAccessConstruction | Fibreglass | Fibreglass
domSCIRTAccessConstruction | Metal | Metal
domSCIRTAccessConstruction | Plastic | Plastic
domSCIRTAccessConstruction | Reinforced Concrete | Reinforced Concrete
domSCIRTAccessSecurity | Sealed Concrete Slab | Sealed Concrete Slab
domSCIRTAccessSecurity | Secure Key | Secure Key
domSCIRTAccessSecurity | Secure Padlock | Secure Padlock
domSCIRTAccessSecurity | Unsecured | Unsecured
domSCIRTAccessSecurity | Welded Closed | Welded Closed
domSCIRTAccessTreatmentType | Fibreglass Lining | Fibreglass Lining
domSCIRTAccessTreatmentType | Coating | Paint on Coating
domSCIRTAccessTreatmentType | PE Lining | PE Lining
domSCIRTDiffersFromDesign | No | No
domSCIRTDiffersFromDesign | Yes | Yes
domSCIRTEndCapType | End Cap | End Cap
domSCIRTEndCapType | Plugged | Plugged
domSCIRTEnergySource | Diesel | Diesel
domSCIRTEnergySource | Electricity | Electricity
domSCIRTEnergySource | None | None
domSCIRTEnergySource | Petrol | Petrol
domSCIRTEyeType | Kerb Outlet | Kerb Outlet
domSCIRTEyeType | Manhole Discharge | Manhole Discharge
domSCIRTEyeType | Ramped Riser | Ramped Riser
domSCIRTEyeType | Side Y | Side Y
domSCIRTEyeType | Tee | Tee
domSCIRTEyeType | Vacuum Lift | Vacuum Lift
domSCIRTEyeType | Vacuum Riser | Vacuum Riser
domSCIRTEyeType | Vertical | Vertical
domSCIRTFrequency | automatic | automatic
domSCIRTFrequency | daily | daily
domSCIRTFrequency | monthly | monthly
domSCIRTFrequency | weekly | weekly
domSCIRTInstallationCompany | City Care | City Care
domSCIRTInstallationCompany | Downer | Downer
domSCIRTInstallationCompany | Fletcher | Fletcher
domSCIRTInstallationCompany | Fulton Hogan | Fulton Hogan
domSCIRTInstallationCompany | MacDow | MacDow
domSCIRTInstallationCompany | MacDow Fletcher | MacDow Fletcher
domSCIRTInstallationCompany | Pre-existing | Pre-existing
domSCIRTJunctionType | Bend | Bend
domSCIRTJunctionType | Cross | Cross
domSCIRTJunctionType | Gibault Joint | Gibault Joint
domSCIRTJunctionType | Loose Collar | Loose Collar
domSCIRTJunctionType | Reducer | Reducer
domSCIRTJunctionType | Tee | Tee
domSCIRTJunctionType | Vacuum Riser | Vacuum Riser
domSCIRTJunctionType | Y | Y
domSCIRTLidStyle | Open | Open
domSCIRTLidStyle | Solid | Solid
domSCIRTLidStyle | Standard grated | Standard grated
domSCIRTLidStyle | Wavy grated | Wavy grated
domSCIRTLidType | Circular | Circular
domSCIRTLidType | Double | Double
domSCIRTLidType | Grated Circular | Grated Circular
domSCIRTLidType | Rectangular | Rectangular
domSCIRTLidType | Square | Square
domSCIRTLidType | Triangular | Triangular
domSCIRTLocationCertainty | Approximate XYZ | Approximate XYZ
domSCIRTLocationCertainty | Survey Accurate | Survey Accurate
domSCIRTLocationCertainty | Survey Accurate XY & Approximate Z | Survey Accurate XY & Approximate Z
domSCIRTLocationCertainty | Survey Accurate Z & Approximate XY | Survey Accurate Z & Approximate XY
domSCIRTManufacturer | A.R.I Flow Control Accessories | A.R.I Flow Control Accessories
domSCIRTManufacturer | AAP Industries Pty Limited | AAP Industries Pty Limited
domSCIRTManufacturer | Action Engineering Ltd | Action Engineering Ltd
domSCIRTManufacturer | Advanced Motor Control Ltd | Advanced Motor Control Ltd
domSCIRTManufacturer | Agru Kunststofftechnik GmbH | Agru Kunststofftechnik GmbH
domSCIRTManufacturer | American Pipe & Plastics Inc | American Pipe & Plastics Inc
domSCIRTManufacturer | Amex GmbH | Amex GmbH
domSCIRTManufacturer | AMV Manufacturing Pty Ltd | AMV Manufacturing Pty Ltd
domSCIRTManufacturer | Anzors | Anzors
domSCIRTManufacturer | ARMATEC Environmental Ltd | ARMATEC Environmental Ltd
domSCIRTManufacturer | Asmuss Plastic Systems Ltd | Asmuss Plastic Systems Ltd
domSCIRTManufacturer | AVFI Pty Ltd | AVFI Pty Ltd
domSCIRTManufacturer | AVK Australia Pty Ltd | AVK Australia Pty Ltd
domSCIRTManufacturer | Bilfinger Airvac Water Technologies Inc. | Bilfinger Airvac Water Technologies Inc.
domSCIRTManufacturer | Borouge NZ Ltd | Borouge NZ Ltd
domSCIRTManufacturer | Bremca Australia Pty Ltd | Bremca Australia Pty Ltd
domSCIRTManufacturer | Bundaberg Metal Industries | Bundaberg Metal Industries
domSCIRTManufacturer | City Care | City Care
domSCIRTManufacturer | Cromford Group Pty Ltd | Cromford Group Pty Ltd
domSCIRTManufacturer | Double-lin Valves Co Ltd | Double-lin Valves Co Ltd
domSCIRTManufacturer | Downer | Downer
domSCIRTManufacturer | Dynamic Fluid Control (Pty) Ltd | Dynamic Fluid Control (Pty) Ltd
domSCIRTManufacturer | EBAA Iron Inc | EBAA Iron Inc
domSCIRTManufacturer | EGE-Elektronik Spezial Sensoren GmbH | EGE-Elektronik Spezial Sensoren GmbH
domSCIRTManufacturer | Elster Group GmbH | Elster Group GmbH
domSCIRTManufacturer | EONE | EONE
domSCIRTManufacturer | Evak Pump Technology Corp | Evak Pump Technology Corp
domSCIRTManufacturer | Fletcher | Fletcher
domSCIRTManufacturer | Flomatic | Flomatic
domSCIRTManufacturer | Flovac Systems | Flovac Systems
domSCIRTManufacturer | Flygt | Flygt
domSCIRTManufacturer | Frank PKS NZ Ltd | Frank PKS NZ Ltd
domSCIRTManufacturer | Franklin Valve L.P. | Franklin Valve L.P.
domSCIRTManufacturer | Friatec Aktiengesellschaft | Friatec Aktiengesellschaft
domSCIRTManufacturer | Fulton Hogan | Fulton Hogan
domSCIRTManufacturer | Fusion Group PLC | Fusion Group PLC
domSCIRTManufacturer | G and T Construction Ltd | G and T Construction Ltd
domSCIRTManufacturer | Georg Fischer Piping Systems | Georg Fischer Piping Systems
domSCIRTManufacturer | Gillies Metaltech Ltd | Gillies Metaltech Ltd
domSCIRTManufacturer | Glynwed Pipe Systems Ltd | Glynwed Pipe Systems Ltd
domSCIRTManufacturer | Goulds Water Technology | Goulds Water Technology
domSCIRTManufacturer | Grundfos Express Suite | Grundfos Express Suite
domSCIRTManufacturer | Hawle Armaturen GmbH | Hawle Armaturen GmbH
domSCIRTManufacturer | HMA Valveco | HMA Valveco
domSCIRTManufacturer | Humes Pipeline Systems | Humes Pipeline Systems
domSCIRTManufacturer | Hunter Industries | Hunter Industries
domSCIRTManufacturer | Hynds Pipe Systems Ltd | Hynds Pipe Systems Ltd
domSCIRTManufacturer | Insituform - Aegion Corporation | Insituform - Aegion Corporation
domSCIRTManufacturer | Interflow | Interflow
domSCIRTManufacturer | IPEX Inc. | IPEX Inc.
domSCIRTManufacturer | Iplex Pipelines Australia Pty Ltd | Iplex Pipelines Australia Pty Ltd
domSCIRTManufacturer | Iplex Pipelines NZ Ltd | Iplex Pipelines NZ Ltd
domSCIRTManufacturer | Karl Otto Braun GmbH & Co. KG | Karl Otto Braun GmbH & Co. KG
domSCIRTManufacturer | Kent Meters | Kent Meters
domSCIRTManufacturer | Keystone International Inc. | Keystone International Inc.
domSCIRTManufacturer | KITZ Corporation | KITZ Corporation
domSCIRTManufacturer | KROHNE Messtechnik GmbH | KROHNE Messtechnik GmbH
domSCIRTManufacturer | Mallet Industries Pty Ltd | Mallet Industries Pty Ltd
domSCIRTManufacturer | March Construction Ltd | March Construction Ltd
domSCIRTManufacturer | Marley New Zealand Ltd | Marley New Zealand Ltd
domSCIRTManufacturer | Maskell Productions Ltd | Maskell Productions Ltd
domSCIRTManufacturer | Maxwell | Maxwell
domSCIRTManufacturer | McBerns Pty Ltd | McBerns Pty Ltd
domSCIRTManufacturer | McConnell Dowell | McConnell Dowell
domSCIRTManufacturer | MEA Group | MEA Group
domSCIRTManufacturer | MICO Inc. | MICO Inc.
domSCIRTManufacturer | Micron Pipelines Pty Ltd | Micron Pipelines Pty Ltd
domSCIRTManufacturer | Naylor Drainage Limited NZ Ltd | Naylor Drainage Limited NZ Ltd
domSCIRTManufacturer | Nexus Flo | Nexus Flo
domSCIRTManufacturer | Ningbo Yongxiang Fluid Control International | Ningbo Yongxiang Fluid Control International
domSCIRTManufacturer | Northern Iron and Brass Foundary Pty Ltd | Northern Iron and Brass Foundary Pty Ltd
domSCIRTManufacturer | Nu Flow | Nu Flow
domSCIRTManufacturer | Nupigeco Spa | Nupigeco Spa
domSCIRTManufacturer | Pentair | Pentair
domSCIRTManufacturer | Perma-Liner Industries | Perma-Liner Industries
domSCIRTManufacturer | Philmac Pty Ltd | Philmac Pty Ltd
domSCIRTManufacturer | PipeWorks | PipeWorks
domSCIRTManufacturer | Plassim Fittings Ltd | Plassim Fittings Ltd
domSCIRTManufacturer | Plasson Ltd Israel | Plasson Ltd Israel
domSCIRTManufacturer | PPI Corporation Pty Limited | PPI Corporation Pty Limited
domSCIRTManufacturer | Pump & Valve Specialties Ltd | Pump & Valve Specialties Ltd
domSCIRTManufacturer | Rees Engineering Services Ltd | Rees Engineering Services Ltd
domSCIRTManufacturer | RX Plastics Ltd | RX Plastics Ltd
domSCIRTManufacturer | Saint-Gobain PAM UK Ltd | Saint-Gobain PAM UK Ltd
domSCIRTManufacturer | Saint-Gobain pipelines Co | Saint-Gobain pipelines Co
domSCIRTManufacturer | SEKISUI Rib Loc Australia Pty Ltd | SEKISUI Rib Loc Australia Pty Ltd
domSCIRTManufacturer | Sekisui SPR Americas LLC | Sekisui SPR Americas LLC
domSCIRTManufacturer | Sideliner | Sideliner
domSCIRTManufacturer | Sika (NZ) Ltd | Sika (NZ) Ltd
domSCIRTManufacturer | Smartstream Technology Pty Ltd | Smartstream Technology Pty Ltd
domSCIRTManufacturer | Solo Plastics | Solo Plastics
domSCIRTManufacturer | Steel Pipe NZ | Steel Pipe NZ
domSCIRTManufacturer | Steinhardt | Steinhardt
domSCIRTManufacturer | Strata Precision Plastics Ltd | Strata Precision Plastics Ltd
domSCIRTManufacturer | Superlit Boru Sanayi A.S. | Superlit Boru Sanayi A.S.
domSCIRTManufacturer | Supreme Aquaservice strl | Supreme Aquaservice strl
domSCIRTManufacturer | Talbot UK | Talbot UK
domSCIRTManufacturer | Texco Steel Ltd | Texco Steel Ltd
domSCIRTManufacturer | Tideflex Technologies | Tideflex Technologies
domSCIRTManufacturer | Trelleborg Pipe Seals | Trelleborg Pipe Seals
domSCIRTManufacturer | Tyco Water | Tyco Water
domSCIRTManufacturer | Tyco Water Plastic Pipeline Systems | Tyco Water Plastic Pipeline Systems
domSCIRTManufacturer | Tyco Water Pty Ltd - Currumbin | Tyco Water Pty Ltd - Currumbin
domSCIRTManufacturer | Val-Matic Valve & Manufacturing Corporation | Val-Matic Valve & Manufacturing Corporation
domSCIRTManufacturer | Valvosanitaria Bugatti S.p.A. | Valvosanitaria Bugatti S.p.A.
domSCIRTManufacturer | Vent-O-Mat | Vent-O-Mat
domSCIRTManufacturer | Viking Johnson | Viking Johnson
domSCIRTManufacturer | Vinidex Pty Ltd | Vinidex Pty Ltd
domSCIRTManufacturer | W.E. Rawson Ltd | W.E. Rawson Ltd
domSCIRTManufacturer | Wapro AB | Wapro AB
domSCIRTManufacturer | Waters & Farr | Waters & Farr
domSCIRTManufacturer | Weilong Valve Co Ltd | Weilong Valve Co Ltd
domSCIRTManufacturer | WILKINS a Zurn company | WILKINS a Zurn company
domSCIRTManufacturer | Xinxing Ductile Iron Pipes Co Ltd | Xinxing Ductile Iron Pipes Co Ltd
domSCIRTManufacturer | Xylem | Xylem
domSCIRTManufacturer | Yokogawa New Zealand Ltd | Yokogawa New Zealand Ltd
domSCIRTManufacturer | Zurn Industries | Zurn Industries
domSCIRTOldOrNewAsset | New | New
domSCIRTOldOrNewAsset | Old | Old
domSCIRTOutletType | Dissipator | Dissipator
domSCIRTOutletType | Flap Valve | Flap Valve
domSCIRTOutletType | Grated Head Wall Inlet | Grated Head Wall Inlet
domSCIRTOutletType | Grated Head Wall Outlet | Grated Head Wall Outlet
domSCIRTOutletType | Head Wall Inlet | Head Wall Inlet
domSCIRTOutletType | Head Wall Outlet | Head Wall Outlet
domSCIRTOutletType | Outfall | Outfall
domSCIRTOutletType | Outlet | Outlet
domSCIRTOutletType | Overflow | Overflow
domSCIRTOutletType | Pipe End | Pipe End
domSCIRTOutletType | Soak Pit | Soak Pit
domSCIRTPipeConstruction | ABS | Acrylonitrile Butadiene Styr
domSCIRTPipeConstruction | API | Amer. Petroleum Inst. Steel Pipe
domSCIRTPipeConstruction | CI | Cast Iron
domSCIRTPipeConstruction | CLDI | Concrete Lined Ductile Iron
domSCIRTPipeConstruction | CLS | Concrete Lined Steel
domSCIRTPipeConstruction | CORRGALV | Corrugated Galvanised Steel
domSCIRTPipeConstruction | DI | Ductile Iron
domSCIRTPipeConstruction | GALV | Galvanised Steel
domSCIRTPipeConstruction | GRP | Glass Reinforced Plastic
domSCIRTPipeConstruction | PVC-M | Modified Polyvinyl Chloride
domSCIRTPipeConstruction | PE100 | Polyethylene 100
domSCIRTPipeConstruction | PE80 | Polyethylene 80
domSCIRTPipeConstruction | Polymer Concrete | Polymer Concrete
domSCIRTPipeConstruction | Profile Pipe PR34-7.5 (dbl skin) PE100 | Profile Pipe PR34-7.5 (dbl skin) PE100
domSCIRTPipeConstruction | Profile Pipe PR54-11.8 (single skin) PE100 | Profile Pipe PR54-11.8 (single skin) PE100
domSCIRTPipeConstruction | Profile Pipe PR54-13.4 (dbl skin) PE100 | Profile Pipe PR54-13.4 (dbl skin) PE100
domSCIRTPipeConstruction | Profile Pipe PR54-18.2 (dbl skin) PE100 | Profile Pipe PR54-18.2 (dbl skin) PE100
domSCIRTPipeConstruction | Profile Pipe PR54-20.3 (dbl skin) PE100 | Profile Pipe PR54-20.3 (dbl skin) PE100
domSCIRTPipeConstruction | Profile Pipe PR54-30.2 (dbl skin) PE100 | Profile Pipe PR54-30.2 (dbl skin) PE100
domSCIRTPipeConstruction | Profile Pipe PR54-51.5 (dbl skin) PE100 | Profile Pipe PR54-51.5 (dbl skin) PE100
domSCIRTPipeConstruction | Profile Pipe PR54-8.5 (single skin) PE100 | Profile Pipe PR54-8.5 (single skin) PE100
domSCIRTPipeConstruction | Profile Pipe PR54-86.0 (dbl skin) PE100 | Profile Pipe PR54-86.0 (dbl skin) PE100
domSCIRTPipeConstruction | Profile Pipe PR75-161.4 (dbl skin) PE100 | Profile Pipe PR75-161.4 (dbl skin) PE100
domSCIRTPipeConstruction | Profile Pipe PR75-49.1 (dbl skin) PE100 | Profile Pipe PR75-49.1 (dbl skin) PE100
domSCIRTPipeConstruction | Profile Pipe PR75-73.9 (dbl skin) PE100 | Profile Pipe PR75-73.9 (dbl skin) PE100
domSCIRTPipeConstruction | RCRRJ | Reinf. Concrete Rubber Ring Joint
domSCIRTPipeConstruction | RCRSJ | Reinf. Concrete Skid Ring Joint
domSCIRTPipeConstruction | Slotted PE | Slotted PE land drainage pipe
domSCIRTPipeConstruction | STEEL | Steel
domSCIRTPipeConstruction | PVC-U | Unplasticised Polyvinyl Chloride
domSCIRTPipeProtectionType | Aggregate | Aggregate
domSCIRTPipeProtectionType | Concrete Beam | Concrete Beam
domSCIRTPipeProtectionType | Concrete Cover | Concrete Cover
domSCIRTPipeProtectionType | Concrete Haunch | Concrete Haunch
domSCIRTPipeProtectionType | Concrete Surround | Concrete Surround
domSCIRTPipeProtectionType | Ductile Iron Sleeve | Ductile Iron Sleeve
domSCIRTPipeProtectionType | PVC Sleeve | PVC Sleeve
domSCIRTPipeProtectionType | Reinforced Concrete Cover | Reinforced Concrete Cover
domSCIRTPipeProtectionType | Reinforced Concrete Surround | Reinforced Concrete Surround
domSCIRTPipeProtectionType | Steel Cover | Steel Cover
domSCIRTPipeProtectionType | Steel Surround | Steel Surround
domSCIRTPipeProtectionType | Wrapped Joint | Wrapped Joint
domSCIRTPipeProtectionType | Wrapped Pipe | Wrapped Pipe
domSCIRTPipeShape | Circle | Circle
domSCIRTPipeShape | Egg | Egg
domSCIRTPipeShape | Rectangular | Rectangular
domSCIRTPressureStiffness | A | A (pressure 300 kPa)
domSCIRTPressureStiffness | B | B (pressure 600 kPa)
domSCIRTPressureStiffness | C | C (pressure 900 kPa)
domSCIRTPressureStiffness | Class10 | Concrete Load Class 10
domSCIRTPressureStiffness | Class2 | Concrete Load Class 2 (X)
domSCIRTPressureStiffness | Class3 | Concrete Load Class 3 (Y)
domSCIRTPressureStiffness | Class4 | Concrete Load Class 4 (Z)
domSCIRTPressureStiffness | Class6 | Concrete Load Class 6
domSCIRTPressureStiffness | Class8 | Concrete Load Class 8
domSCIRTPressureStiffness | D | D (pressure 1200 kPa)
domSCIRTPressureStiffness | E | E (pressure 1500 kPa)
domSCIRTPressureStiffness | F | F (pressure 1800 kPa)
domSCIRTPressureStiffness | G | G (pressure 2000 kPa)
domSCIRTPressureStiffness | PN10 | PN10 (pressure 1000 kPa)
domSCIRTPressureStiffness | PN12 | PN12 (pressure 1200 kPa)
domSCIRTPressureStiffness | PN12.5 | PN12.5 (pressure 1250 kPa)
domSCIRTPressureStiffness | PN15 | PN15 (pressure 1500 kPa)
domSCIRTPressureStiffness | PN16 | PN16 (pressure 1600 kPa)
domSCIRTPressureStiffness | PN18 | PN18 (pressure 1800 kPa)
domSCIRTPressureStiffness | PN20 | PN20 (pressure 2000 kPa)
domSCIRTPressureStiffness | PN25 | PN25 (pressure 2500 kPa)
domSCIRTPressureStiffness | PN3 | PN3 (pressure 300 kPa)
domSCIRTPressureStiffness | PN35 | PN35 (pressure 3500 kPa)
domSCIRTPressureStiffness | PN4 | PN4 (pressure 400 kPa)
domSCIRTPressureStiffness | PN5 | PN5 (pressure 500 kPa)
domSCIRTPressureStiffness | PN6 | PN6 (pressure 600 kPa)
domSCIRTPressureStiffness | PN8 | PN8 (pressure 800 kPa)
domSCIRTPressureStiffness | PN9 | PN9 (pressure 900 kPa)
domSCIRTPressureStiffness | SN10 | SN10 (stiffness 10 kN/m2)
domSCIRTPressureStiffness | SN12 | SN12 (stiffness 12 kN/m2)
domSCIRTPressureStiffness | SN16 | SN16 (stiffness 16 kN/m2)
domSCIRTPressureStiffness | SN2 | SN2 (stiffness 2 kN/m2)
domSCIRTPressureStiffness | SN21 | SN21 (stiffness 21 kN/m2)
domSCIRTPressureStiffness | SN22 | SN22 (stiffness 22 kN/m2)
domSCIRTPressureStiffness | SN23 | SN23 (stiffness 23 kN/m2)
domSCIRTPressureStiffness | SN24 | SN24 (stiffness 24 kN/m2)
domSCIRTPressureStiffness | SN25 | SN25 (stiffness 25.4 kN/m2)
domSCIRTPressureStiffness | SN27 | SN27 (stiffness 27 kN/m2)
domSCIRTPressureStiffness | SN4 | SN4 (stiffness 4 kN/m2)
domSCIRTPressureStiffness | SN8 | SN8 (stiffness 8 kN/m2)
domSCIRTRepairMaterial | Clamp | Clamp
domSCIRTRepairMaterial | CIPP-ER | Cured In Place Pipe (Epoxy Resin)
domSCIRTRepairMaterial | CIPP-EV | Cured In Place Pipe (Epoxy Vinyl Ester)
domSCIRTRepairMaterial | CIPP-PR | Cured In Place Pipe (Polyester Resin)
domSCIRTRepairMaterial | CIPP-SR | Cured In Place Pipe (Silicate Resin)
domSCIRTRepairMaterial | DI | Ductile Iron
domSCIRTRepairMaterial | EPDR | Ethylene Propylene Diene Rubber
domSCIRTRepairMaterial | Folded PE | Folded PE
domSCIRTRepairMaterial | Folded PVC | Folded PVC
domSCIRTRepairMaterial | GRP | Glass Reinforced Plastic
domSCIRTRepairMaterial | PE | Polyethylene
domSCIRTRepairMaterial | PVC | Polyvinyl Chloride
domSCIRTRepairMaterial | RCRR | Reinf. Concrete Rubber Ringed
domSCIRTRepairMaterial | Spiral Wound PE | Spiral Wound PE
domSCIRTRepairMaterial | Spiral Wound PVC | Spiral Wound PVC
domSCIRTRepairMaterial | STEEL | Steel
domSCIRTRepairMaterial | PVC-U | Unplasticised Polyvinyl Chloride
domSCIRTRepairType | Clamp | Clamp
domSCIRTRepairType | Full Lining | Full Lining
domSCIRTRepairType | LJR | Lateral Junction Repair
domSCIRTRepairType | Lateral Lining | Lateral Lining
domSCIRTRepairType | Lateral Repair | Lateral Repair
domSCIRTRepairType | Lining Patch | Lining Patch
domSCIRTRepairType | New Pipe Section | New Pipe Section
domSCIRTRepairType | Sliplined | Sliplined
domSCIRTServiceStatus | Abandoned | Abandoned
domSCIRTServiceStatus | In Service | In Service
domSCIRTServiceStatus | Out of Service | Out of Service
domSCIRTServiceStatus | Removed | Removed
domSCIRTSharedConnection | No | No
domSCIRTSharedConnection | Yes | Yes
domSCIRTSWAccessType | Air Valve Chamber | Air Valve Chamber
domSCIRTSWAccessType | Bypass Chamber | Bypass Chamber
domSCIRTSWAccessType | Flowmeter Chamber | Flowmeter Chamber
domSCIRTSWAccessType | Flushing Siphon Chamber | Flushing Siphon Chamber
domSCIRTSWAccessType | Grease Trap | Grease Trap
domSCIRTSWAccessType | Gully Trap | Gully Trap
domSCIRTSWAccessType | Inspection Chamber | Inspection Chamber
domSCIRTSWAccessType | Inspection Point | Inspection Point
domSCIRTSWAccessType | Manhole | Manhole
domSCIRTSWAccessType | Master Trap | Master Trap
domSCIRTSWAccessType | Non-Standard Manhole | Non-Standard Manhole
domSCIRTSWAccessType | Odour Filter | Odour Filter
domSCIRTSWAccessType | Petrol Oil Interceptor | Petrol Oil Interceptor
domSCIRTSWAccessType | PS Dry Well | Pump Station Dry Well
domSCIRTSWAccessType | PS Wet Well | Pump Station Wet Well
domSCIRTSWAccessType | Sedimentation Trap | Sedimentation Trap
domSCIRTSWAccessType | Splitter Manhole | Splitter Manhole
domSCIRTSWAccessType | Valve Chamber | Valve Chamber
domSCIRTSWFlowRestrictionType | Weir | Weir
domSCIRTSWInletType | Corner Sump | Corner Sump
domSCIRTSWInletType | Dome Sump | Dome Sump
domSCIRTSWInletType | Double Sump | Double Sump
domSCIRTSWInletType | Gross Debris Trap | Gross Debris Trap
domSCIRTSWInletType | Hillside Sump | Hillside Sump
domSCIRTSWInletType | Pipe End | Pipe End
domSCIRTSWInletType | Silt Trap | Silt Trap
domSCIRTSWInletType | Single Sump | Single Sump
domSCIRTSWInletType | Triple Sump | Triple Sump
domSCIRTSWLateralType | Gravity | Gravity
domSCIRTSWLateralType | Internal to Structure | Internal to Structure
domSCIRTSWLateralType | Pressure | Pressure
domSCIRTSWPipeType | Arch Culvert | Arch Culvert
domSCIRTSWPipeType | Box Culvert | Box Culvert
domSCIRTSWPipeType | Bridge | Bridge
domSCIRTSWPipeType | Covered Half Pipe | Covered Half Pipe
domSCIRTSWPipeType | Field Tile | Field Tile
domSCIRTSWPipeType | Grated Drain | Grated Drain
domSCIRTSWPipeType | Gravity | Gravity
domSCIRTSWPipeType | Gravity Collector | Gravity Collector
domSCIRTSWPipeType | Internal to Structure | Internal to Structure
domSCIRTSWPipeType | Overflow | Overflow
domSCIRTSWPipeType | Pressure | Pressure
domSCIRTSWPipeType | Round Culvert | Round Culvert
domSCIRTSWPipeType | Syphon | Syphon
domSCIRTSWPipeType | Vent | Vent
domSCIRTSWPumpType | Lift | Lift
domSCIRTSWPumpType | SW Pump | SW Pump
domSCIRTSWPumpType | Vacuum | Vacuum
domSCIRTSWPumpType | WW Pump | WW Pump
domSCIRTSWStructureMaterial | Aggregate | Aggregate
domSCIRTSWStructureMaterial | Brick | Brick
domSCIRTSWStructureMaterial | Concrete | Concrete
domSCIRTSWStructureMaterial | Fibreglass | Fibreglass
domSCIRTSWStructureMaterial | Metal | Metal
domSCIRTSWStructureMaterial | Plastic | Plastic
domSCIRTSWStructureMaterial | Reinforced Concrete | Reinforced Concrete
domSCIRTSWStructureMaterial | Timber | Timber
domSCIRTSWStructureType | Anchor Block | Anchor Block
domSCIRTSWStructureType | Backwash Tank | Backwash Tank
domSCIRTSWStructureType | BioFilter | BioFilter
domSCIRTSWStructureType | Break Pressure Tank | Break Pressure Tank
domSCIRTSWStructureType | Bypass Chamber | Bypass Chamber
domSCIRTSWStructureType | Control Cabinet | Control Cabinet
domSCIRTSWStructureType | Cooling Tank | Cooling Tank
domSCIRTSWStructureType | Energy Disperser | Energy Disperser
domSCIRTSWStructureType | Fan Chamber | Fan Chamber
domSCIRTSWStructureType | Fire Tank | Fire Tank
domSCIRTSWStructureType | Flowmeter Chamber | Flowmeter Chamber
domSCIRTSWStructureType | Flume | Flume
domSCIRTSWStructureType | Fuel Tank | Fuel Tank
domSCIRTSWStructureType | Gauging Weir Chamber | Gauging Weir Chamber
domSCIRTSWStructureType | Generator | Generator
domSCIRTSWStructureType | Inlet | Inlet
domSCIRTSWStructureType | Manhole | Manhole
domSCIRTSWStructureType | Odour Filter | Odour Filter
domSCIRTSWStructureType | Outlet | Outlet
domSCIRTSWStructureType | Pipe Bridge | Pipe Bridge
domSCIRTSWStructureType | Pump Chamber | Pump Chamber
domSCIRTSWStructureType | Pump House | Pump House
domSCIRTSWStructureType | PS Dry Well | Pump Station Dry Well
domSCIRTSWStructureType | PS Wet Well | Pump Station Wet Well
domSCIRTSWStructureType | Reservoir | Reservoir
domSCIRTSWStructureType | Screening Plant | Screening Plant
domSCIRTSWStructureType | Settling Tank | Settling Tank
domSCIRTSWStructureType | Silt Trap | Silt Trap
domSCIRTSWStructureType | Splitter Manhole | Splitter Manhole
domSCIRTSWStructureType | Syphon Chamber | Syphon Chamber
domSCIRTSWStructureType | Thrust Block Non-Standard | Thrust Block Non-Standard
domSCIRTSWStructureType | Thrust Block Rectangular | Thrust Block Rectangular
domSCIRTSWStructureType | Thrust Block Triangular | Thrust Block Triangular
domSCIRTSWStructureType | Transformer | Transformer
domSCIRTSWStructureType | Treatment Plant | Treatment Plant
domSCIRTSWStructureType | Truck Wash | Truck Wash
domSCIRTSWStructureType | Tunnel | Tunnel
domSCIRTSWStructureType | Valve Chamber | Valve Chamber
domSCIRTSWStructureType | Water Stop | Water Stop
domSCIRTSWStructureType | Water Tank | Water Tank
domSCIRTSWStructureType | Weir | Weir
domSCIRTSWStructureType | Well | Well
domSCIRTSWValveType | Air Release | Air Release
domSCIRTSWValveType | Ball | Ball
domSCIRTSWValveType | Butterfly | Butterfly
domSCIRTSWValveType | Flap | Flap
domSCIRTSWValveType | Float | Float
domSCIRTSWValveType | Flush | Flush
domSCIRTSWValveType | Flushing Siphon | Flushing Siphon
domSCIRTSWValveType | Gate | Gate
domSCIRTSWValveType | Motorised | Motorised
domSCIRTSWValveType | Non Return | Non Return
domSCIRTSWValveType | Sluice | Sluice
domSCIRTSWValveType | Transducer | Transducer
domSCIRTTelemetryFitted | No | No
domSCIRTTelemetryFitted | Yes | Yes
domSCIRTTrafficable | Non-trafficable | Non-trafficable
domSCIRTTrafficable | Trafficable | Trafficable
domSCIRTTrenched | No | No
domSCIRTTrenched | Yes | Yes
domSCIRTValveActuation | automatic non motorised | automatic non motorised
domSCIRTValveActuation | manual | manual
domSCIRTValveActuation | motorised | motorised
domSCIRTValveClosureRotation | anti-clockwise | anti-clockwise
domSCIRTValveClosureRotation | clockwise | clockwise
domSCIRTValveClosureRotation | n/a | n/a
domSCIRTValveControlPoint | at valve | at valve
domSCIRTValveControlPoint | off site | off site
domSCIRTValveControlPoint | on site | on site
domSCIRTValveFunction | Burst Control | Burst Control
domSCIRTValveFunction | Bypass | Bypass
domSCIRTValveFunction | Drinking Fountain | Drinking Fountain
domSCIRTValveFunction | Emergency Only | Emergency Only
domSCIRTValveFunction | Emergency Waste Removal | Emergency Waste Removal
domSCIRTValveFunction | Fire Service | Fire Service
domSCIRTValveFunction | Flushing Point | Flushing Point
domSCIRTValveFunction | Irrigation | Irrigation
domSCIRTValveFunction | Isolation | Isolation
domSCIRTValveFunction | Lateral Supply | Lateral Supply
domSCIRTValveFunction | No special function | No special function
domSCIRTValveFunction | Pressure Maintaining | Pressure Maintaining
domSCIRTValveFunction | Pressure Reducing | Pressure Reducing
domSCIRTValveFunction | Scour | Scour
domSCIRTValveFunction | Tap | Tap
domSCIRTValveFunction | Transducer | Transducer
domSCIRTValveFunction | Vacuum shut off | Vacuum shut off
domSCIRTValveNormalOperating | automatic | automatic
domSCIRTValveNormalOperating | closed | closed
domSCIRTValveNormalOperating | open | open
domSCIRTWSConnectorType | 2 | 2 pipes
domSCIRTWSConnectorType | 3 | 3 pipes
domSCIRTWSConnectorType | 4 | 4 pipes
domSCIRTWSConnectorType | 5 | 5 pipes
domSCIRTWSConnectorType | 6 | 6 pipes
domSCIRTWSConnectorType | Bellows | Bellows
domSCIRTWSHydrantType | Non-Standard | Non-Standard
domSCIRTWSHydrantType | Standard | Standard
domSCIRTWSOutletType | Overflow | Overflow
domSCIRTWSOutletType | Reservoir | Reservoir
domSCIRTWSOutletType | Scour | Scour
domSCIRTWSPipeType | Crossover | Crossover
domSCIRTWSPipeType | Internal to Structure | Internal to Structure
domSCIRTWSPipeType | Lateral | Lateral
domSCIRTWSPipeType | Main | Main
domSCIRTWSPipeType | Submain | Submain
domSCIRTWSPumpType | Booster | Booster
domSCIRTWSPumpType | Primary | Primary
domSCIRTWSPumpType | Standby | Standby
domSCIRTWSStructureMaterial | Aggregate | Aggregate
domSCIRTWSStructureMaterial | Brick | Brick
domSCIRTWSStructureMaterial | Concrete | Concrete
domSCIRTWSStructureMaterial | Fibreglass | Fibreglass
domSCIRTWSStructureMaterial | Metal | Metal
domSCIRTWSStructureMaterial | Plastic | Plastic
domSCIRTWSStructureMaterial | Reinforced Concrete | Reinforced Concrete
domSCIRTWSStructureMaterial | Timber | Timber
domSCIRTWSStructureType | Anchor Block | Anchor Block
domSCIRTWSStructureType | Backwash Tank | Backwash Tank
domSCIRTWSStructureType | Break Pressure Tank | Break Pressure Tank
domSCIRTWSStructureType | Bypass Chamber | Bypass Chamber
domSCIRTWSStructureType | Cooling Tank | Cooling Tank
domSCIRTWSStructureType | Fire Tank | Fire Tank
domSCIRTWSStructureType | Flowmeter Chamber | Flowmeter Chamber
domSCIRTWSStructureType | Generator | Generator
domSCIRTWSStructureType | Manhole | Manhole
domSCIRTWSStructureType | Pump Chamber | Pump Chamber
domSCIRTWSStructureType | Pump House | Pump House
domSCIRTWSStructureType | Reservoir | Reservoir
domSCIRTWSStructureType | Settling Tank | Settling Tank
domSCIRTWSStructureType | Syphon Chamber | Syphon Chamber
domSCIRTWSStructureType | Thrust Block Non-Standard | Thrust Block Non-Standard
domSCIRTWSStructureType | Thrust Block Rectangular | Thrust Block Rectangular
domSCIRTWSStructureType | Thrust Block Triangular | Thrust Block Triangular
domSCIRTWSStructureType | Transformer | Transformer
domSCIRTWSStructureType | Valve Chamber | Valve Chamber
domSCIRTWSStructureType | Water Stop | Water Stop
domSCIRTWSStructureType | Water Tank | Water Tank
domSCIRTWSStructureType | Well | Well
domSCIRTWSTankConstructionStyle | Cast Insitu | Cast Insitu
domSCIRTWSTankConstructionStyle | Masonry | Masonry
domSCIRTWSTankConstructionStyle | Precast | Precast
domSCIRTWSTankConstructionStyle | Prefabricated | Prefabricated
domSCIRTWSTankConstructionStyle | Sectional | Sectional
domSCIRTWSValveBuried | No | No
domSCIRTWSValveBuried | Yes | Yes
domSCIRTWSValveType | Air Release | Air Release
domSCIRTWSValveType | Backflow Prevention | Backflow Prevention
domSCIRTWSValveType | Backflow Prevention RPZ | Backflow Prevention RPZ
domSCIRTWSValveType | Ball | Ball
domSCIRTWSValveType | Burst Control | Burst Control
domSCIRTWSValveType | Butterfly | Butterfly
domSCIRTWSValveType | Gate | Gate
domSCIRTWSValveType | Motorised | Motorised
domSCIRTWSValveType | Non Return | Non Return
domSCIRTWSValveType | Pressure Reducing | Pressure Reducing
domSCIRTWSValveType | Pressure Relief | Pressure Relief
domSCIRTWSValveType | Pressure Sustaining | Pressure Sustaining
domSCIRTWSValveType | Sluice | Sluice
domSCIRTWSValveType | Tap | Tap
domSCIRTWSValveType | Transducer | Transducer
domSCIRTWWAccessType | Additional Vacuum Storage | Additional Vacuum Storage
domSCIRTWWAccessType | Air Valve Chamber | Air Valve Chamber
domSCIRTWWAccessType | Bypass Chamber | Bypass Chamber
domSCIRTWWAccessType | Cable Draw Point | Cable Draw Point
domSCIRTWWAccessType | Flowmeter Chamber | Flowmeter Chamber
domSCIRTWWAccessType | Flush Manhole | Flush Manhole
domSCIRTWWAccessType | Flushing Siphon Chamber | Flushing Siphon Chamber
domSCIRTWWAccessType | Grease Trap | Grease Trap
domSCIRTWWAccessType | Gully Trap | Gully Trap
domSCIRTWWAccessType | Inspection Chamber | Inspection Chamber
domSCIRTWWAccessType | Inspection Point | Inspection Point
domSCIRTWWAccessType | Manhole | Manhole
domSCIRTWWAccessType | Master Trap | Master Trap
domSCIRTWWAccessType | Non-Standard Manhole | Non-Standard Manhole
domSCIRTWWAccessType | Odour Filter | Odour Filter
domSCIRTWWAccessType | Petrol Oil Interceptor | Petrol Oil Interceptor
domSCIRTWWAccessType | PS Dry Well | Pump Station Dry Well
domSCIRTWWAccessType | PS Wet Well | Pump Station Wet Well
domSCIRTWWAccessType | Sedimentation Trap | Sedimentation Trap
domSCIRTWWAccessType | Vacuum Maintenance Riser | Vacuum Maintenance Riser
domSCIRTWWAccessType | Valve Chamber | Valve Chamber
domSCIRTWWBoundaryKitType | non-standard | non-standard
domSCIRTWWBoundaryKitType | standard | standard
domSCIRTWWControlPanelType | non-standard | non-standard
domSCIRTWWControlPanelType | standard | standard
domSCIRTWWFlushTankOperation | Automatic | Automatic
domSCIRTWWFlushTankOperation | Manual | Manual
domSCIRTWWFlushTankOperation | Manual/Automatic | Manual/Automatic
domSCIRTWWFlushTankType | Flushing Siphon Reservoir | Flushing Siphon Reservoir
domSCIRTWWFlushTankType | Non-Standard Non-Vented | Non-Standard Non-Vented
domSCIRTWWFlushTankType | Non-Standard Vented | Non-Standard Vented
domSCIRTWWFlushTankType | Standard Non-Vented | Standard Non-Vented
domSCIRTWWFlushTankType | Standard Vented | Standard Vented
domSCIRTWWLateralType | Gravity | Gravity
domSCIRTWWLateralType | Internal to Structure | Internal to Structure
domSCIRTWWLateralType | Local Pressure | Local Pressure
domSCIRTWWLateralType | Pressure | Pressure
domSCIRTWWLateralType | Vacuum | Vacuum
domSCIRTWWLateralType | Vent | Vent
domSCIRTWWPipeType | AGS Supply | AGS Supply
domSCIRTWWPipeType | Flush | Flush
domSCIRTWWPipeType | Gravity | Gravity
domSCIRTWWPipeType | Gravity Collector | Gravity Collector
domSCIRTWWPipeType | Internal to Structure | Internal to Structure
domSCIRTWWPipeType | Low Pressure System | Low Pressure System
domSCIRTWWPipeType | Overflow | Overflow
domSCIRTWWPipeType | Pressure | Pressure
domSCIRTWWPipeType | Syphon | Syphon
domSCIRTWWPipeType | Vacuum | Vacuum
domSCIRTWWPipeType | Vent | Vent
domSCIRTWWPressureCableType | Local Pressure System | Local Pressure System
domSCIRTWWPressureCableType | Pump Station Electrical | Pump Station Electrical
domSCIRTWWPressureCableType | Pump Station Other | Pump Station Other
domSCIRTWWPressureCableType | Vacuum System | Vacuum System
domSCIRTWWPressureTankType | double non-trafficable | double non-trafficable
domSCIRTWWPressureTankType | double trafficable | double trafficable
domSCIRTWWPressureTankType | quadruple non-trafficable | quadruple non-trafficable
domSCIRTWWPressureTankType | quadruple trafficable | quadruple trafficable
domSCIRTWWPressureTankType | single non-trafficable | single non-trafficable
domSCIRTWWPressureTankType | single trafficable | single trafficable
domSCIRTWWPressureTankType | storage non-trafficable | storage non-trafficable
domSCIRTWWPressureTankType | storage trafficable | storage trafficable
domSCIRTWWPressureTankType | triple non-trafficable | triple non-trafficable
domSCIRTWWPressureTankType | triple trafficable | triple trafficable
domSCIRTWWPumpType | Lift | Lift
domSCIRTWWPumpType | Vacuum | Vacuum
domSCIRTWWPumpType | WW Pump | WW Pump
domSCIRTWWStructureMaterial | Aggregate | Aggregate
domSCIRTWWStructureMaterial | Brick | Brick
domSCIRTWWStructureMaterial | Concrete | Concrete
domSCIRTWWStructureMaterial | Fibreglass | Fibreglass
domSCIRTWWStructureMaterial | Metal | Metal
domSCIRTWWStructureMaterial | Plastic | Plastic
domSCIRTWWStructureMaterial | Reinforced Concrete | Reinforced Concrete
domSCIRTWWStructureMaterial | Timber | Timber
domSCIRTWWStructureType | Anchor Block | Anchor Block
domSCIRTWWStructureType | BioFilter | BioFilter
domSCIRTWWStructureType | Bypass Chamber | Bypass Chamber
domSCIRTWWStructureType | Control Cabinet | Control Cabinet
domSCIRTWWStructureType | Fan Chamber | Fan Chamber
domSCIRTWWStructureType | Flowmeter Chamber | Flowmeter Chamber
domSCIRTWWStructureType | Flume | Flume
domSCIRTWWStructureType | Fuel Tank | Fuel Tank
domSCIRTWWStructureType | Gauging Weir Chamber | Gauging Weir Chamber
domSCIRTWWStructureType | Generator | Generator
domSCIRTWWStructureType | Inlet | Inlet
domSCIRTWWStructureType | Manhole | Manhole
domSCIRTWWStructureType | Odour Filter | Odour Filter
domSCIRTWWStructureType | Pump Chamber | Pump Chamber
domSCIRTWWStructureType | Pump House | Pump House
domSCIRTWWStructureType | PS Dry Well | Pump Station Dry Well
domSCIRTWWStructureType | PS Wet Well | Pump Station Wet Well
domSCIRTWWStructureType | Splitter Manhole | Splitter Manhole
domSCIRTWWStructureType | Syphon Chamber | Syphon Chamber
domSCIRTWWStructureType | Thrust Block Non-Standard | Thrust Block Non-Standard
domSCIRTWWStructureType | Thrust Block Rectangular | Thrust Block Rectangular
domSCIRTWWStructureType | Thrust Block Triangular | Thrust Block Triangular
domSCIRTWWStructureType | Transformer | Transformer
domSCIRTWWStructureType | Valve Chamber | Valve Chamber
domSCIRTWWStructureType | Water Stop | Water Stop
domSCIRTWWStructureType | Water Tank | Water Tank
domSCIRTWWStructureType | Weir | Weir
domSCIRTWWTankAdditionalStorage | Large Pipe | Large Pipe
domSCIRTWWTankAdditionalStorage | Manhole | Manhole
domSCIRTWWTankAdditionalStorage | None | None
domSCIRTWWTankAdditionalStorage | Special | Special
domSCIRTWWTankBottomPlate | No | No
domSCIRTWWTankBottomPlate | Yes | Yes
domSCIRTWWTelemetryDucts | No | No
domSCIRTWWTelemetryDucts | Yes | Yes
domSCIRTWWVacuumChamberType | Collector Type A | Collector Type A
domSCIRTWWVacuumChamberType | Collector Type B | Collector Type B
domSCIRTWWVacuumChamberType | Interceptor Splitter Manhole | Interceptor Splitter Manhole
domSCIRTWWVacuumChamberType | Interceptor Suction Chamber | Interceptor Suction Chamber
domSCIRTWWVacuumChamberType | Interceptor Type A | Interceptor Type A
domSCIRTWWVacuumChamberType | Interceptor Type B | Interceptor Type B
domSCIRTWWVacuumChamberType | Interceptor Valve Chamber | Interceptor Valve Chamber
domSCIRTWWVacuumChamberType | Special | Special
domSCIRTWWValveType | Air Release | Air Release
domSCIRTWWValveType | Ball | Ball
domSCIRTWWValveType | Butterfly | Butterfly
domSCIRTWWValveType | Flap | Flap
domSCIRTWWValveType | Float | Float
domSCIRTWWValveType | Flush | Flush
domSCIRTWWValveType | Flushing Siphon | Flushing Siphon
domSCIRTWWValveType | Gate | Gate
domSCIRTWWValveType | Motorised | Motorised
domSCIRTWWValveType | Non Return | Non Return
domSCIRTWWValveType | Sluice | Sluice
domSCIRTWWValveType | Transducer | Transducer
domSCIRTXXLateralType | Gravity | Gravity
domSCIRTXXLateralType | Internal to Structure | Internal to Structure
domSCIRTXXLateralType | Local Pressure | Local Pressure
domSCIRTXXLateralType | Pressure | Pressure
domSCIRTXXLateralType | Vacuum | Vacuum
domSCIRTXXLateralType | Vent | Vent
domSCIRTXXPumpType | Booster | Booster
domSCIRTXXPumpType | Lift | Lift
domSCIRTXXPumpType | Primary | Primary
domSCIRTXXPumpType | Standby | Standby
domSCIRTXXPumpType | SW Pump | SW Pump
domSCIRTXXPumpType | Vacuum | Vacuum
domSCIRTXXPumpType | WW Pump | WW Pump
domSCIRTXXStructureMaterial | Aggregate | Aggregate
domSCIRTXXStructureMaterial | Brick | Brick
domSCIRTXXStructureMaterial | Concrete | Concrete
domSCIRTXXStructureMaterial | Fibreglass | Fibreglass
domSCIRTXXStructureMaterial | Metal | Metal
domSCIRTXXStructureMaterial | Plastic | Plastic
domSCIRTXXStructureMaterial | Reinforced Concrete | Reinforced Concrete
domSCIRTXXStructureMaterial | Timber | Timber
domSCIRTXXStructureType | Anchor Block | Anchor Block
domSCIRTXXStructureType | Backwash Tank | Backwash Tank
domSCIRTXXStructureType | BioFilter | BioFilter
domSCIRTXXStructureType | Break Pressure Tank | Break Pressure Tank
domSCIRTXXStructureType | Bypass Chamber | Bypass Chamber
domSCIRTXXStructureType | Control Cabinet | Control Cabinet
domSCIRTXXStructureType | Cooling Tank | Cooling Tank
domSCIRTXXStructureType | Energy Disperser | Energy Disperser
domSCIRTXXStructureType | Fan Chamber | Fan Chamber
domSCIRTXXStructureType | Fire Tank | Fire Tank
domSCIRTXXStructureType | Flowmeter Chamber | Flowmeter Chamber
domSCIRTXXStructureType | Flume | Flume
domSCIRTXXStructureType | Fuel Tank | Fuel Tank
domSCIRTXXStructureType | Gauging Weir Chamber | Gauging Weir Chamber
domSCIRTXXStructureType | Generator | Generator
domSCIRTXXStructureType | Inlet | Inlet
domSCIRTXXStructureType | Manhole | Manhole
domSCIRTXXStructureType | Odour Filter | Odour Filter
domSCIRTXXStructureType | Outlet | Outlet
domSCIRTXXStructureType | Pipe Bridge | Pipe Bridge
domSCIRTXXStructureType | Pump Chamber | Pump Chamber
domSCIRTXXStructureType | Pump House | Pump House
domSCIRTXXStructureType | PS Dry Well | Pump Station Dry Well
domSCIRTXXStructureType | PS Wet Well | Pump Station Wet Well
domSCIRTXXStructureType | Reservoir | Reservoir
domSCIRTXXStructureType | Screening Plant | Screening Plant
domSCIRTXXStructureType | Settling Tank | Settling Tank
domSCIRTXXStructureType | Silt Trap | Silt Trap
domSCIRTXXStructureType | Splitter Manhole | Splitter Manhole
domSCIRTXXStructureType | Syphon Chamber | Syphon Chamber
domSCIRTXXStructureType | Thrust Block Non-Standard | Thrust Block Non-Standard
domSCIRTXXStructureType | Thrust Block Rectangular | Thrust Block Rectangular
domSCIRTXXStructureType | Thrust Block Triangular | Thrust Block Triangular
domSCIRTXXStructureType | Transformer | Transformer
domSCIRTXXStructureType | Treatment Plant | Treatment Plant
domSCIRTXXStructureType | Truck Wash | Truck Wash
domSCIRTXXStructureType | Tunnel | Tunnel
domSCIRTXXStructureType | Valve Chamber | Valve Chamber
domSCIRTXXStructureType | Water Stop | Water Stop
domSCIRTXXStructureType | Water Tank | Water Tank
domSCIRTXXStructureType | Weir | Weir
domSCIRTXXStructureType | Well | Well