TRIM: 22/1725458

**Note:** All Permits involving Hot Work must be reviewed and co-signed by another CCC team member familiar with the hot work processes

The permit user must ensure the following is in place before work commences:

[ ]  The building condition has been inspected, and cable runs, cavities, pipework, and poly panel identified and protected.

[ ]  Combustible panels or liquids are not closer than 10 m to the worksite or have been inspected and covered with a fire blanket

[ ]  Pipework and vessels for flammables have been purged with inert material and certified ‘gas free’ Strike through if not applicable

[ ]  Fire safety equipment on-hand or nearby (e.g. extinguishers, hoses, fire blanket, etc.)

[ ]  Screens and barriers are in place to prevent the passage of others into the workspace and to protect personnel from arc flash

[ ]  Sensitive electronic equipment such as flow meters have been isolated from welding current and conducted heat

[ ]  Sufficient ventilation is in place to remove any toxic fumes generated

[ ]  All escape routes have been walked and are clear

[ ]  Any hot work in sludge room B requires both doors to be locked OPEN and all extraction fans operating for the duration of work

[ ]  Before applying any heat to metal built into or projecting through walls, floors or ceilings, an examination will be made to ensure that the other end of the metal is cleared of combustible material or such combustible material is covered with fireproof blankets or similar protective equipment

Description of job

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

[ ]  I confirm that the precautions described above will be put in place and will remain in place for the duration of the work.

Permit will only be open for 12 hours, additional time will need to be documented and signed daily.

|  |  |
| --- | --- |
| Issue date: \_\_\_\_\_\_\_\_\_ | Sign\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| Change in hazards (circle) | Yes  | No  |
| If yes JSA will need to be changed and signed off  |
| Closure date:\_\_\_\_\_\_\_\_\_ | Sign\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| Revalidation Date: \_\_\_\_\_\_\_\_\_ | Sign\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |
| Signed by Safety Observer | Sign\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |

**On Closure:** After at least one hour after hot works has cessed a fire water must return to prove the area safe

|  |  |
| --- | --- |
| Signed by Safety Observer | Sign\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ |